## sensor table
reference_designator | method | stream_name | parameter_id | parameter_name | parameter_unit
RS01SBPD-DP01A-01-CTDPFL104 | recovered_inst | dpc_ctd_instrument_recovered | 2 | pressure | dbar
RS01SBPD-DP01A-01-CTDPFL104 | recovered_inst | dpc_ctd_instrument_recovered | 5 | density | kg m-3
RS01SBPD-DP01A-01-CTDPFL104 | recovered_inst | dpc_ctd_instrument_recovered | 6 | temp | deg_C
RS01SBPD-DP01A-01-CTDPFL104 | recovered_inst | dpc_ctd_instrument_recovered | 13 | practical_salinity | 1
RS01SBPD-DP01A-01-CTDPFL104 | recovered_inst | dpc_ctd_instrument_recovered | 3706 | dpc_ctd_seawater_conductivity | S m-1
RS01SBPD-DP01A-01-CTDPFL104 | recovered_wfp | dpc_ctd_instrument_recovered | 2 | pressure | dbar
RS01SBPD-DP01A-01-CTDPFL104 | recovered_wfp | dpc_ctd_instrument_recovered | 5 | density | kg m-3
RS01SBPD-DP01A-01-CTDPFL104 | recovered_wfp | dpc_ctd_instrument_recovered | 6 | temp | deg_C
RS01SBPD-DP01A-01-CTDPFL104 | recovered_wfp | dpc_ctd_instrument_recovered | 13 | practical_salinity | 1
RS01SBPD-DP01A-01-CTDPFL104 | recovered_wfp | dpc_ctd_instrument_recovered | 3706 | dpc_ctd_seawater_conductivity | S m-1
RS01SBPD-DP01A-02-VEL3DA103 | recovered_inst | dpc_acm_instrument_recovered | 3483 | vel3d_a_eastward_velocity | m s-1
RS01SBPD-DP01A-02-VEL3DA103 | recovered_inst | dpc_acm_instrument_recovered | 3484 | vel3d_a_northward_velocity | m s-1
RS01SBPD-DP01A-02-VEL3DA103 | recovered_inst | dpc_acm_instrument_recovered | 3485 | vel3d_a_upward_velocity_ascending | m s-1
RS01SBPD-DP01A-02-VEL3DA103 | recovered_inst | dpc_acm_instrument_recovered | 3486 | vel3d_a_upward_velocity_descending | m s-1
RS01SBPD-DP01A-02-VEL3DA103 | recovered_wfp | dpc_acm_instrument_recovered | 3483 | vel3d_a_eastward_velocity | m s-1
RS01SBPD-DP01A-02-VEL3DA103 | recovered_wfp | dpc_acm_instrument_recovered | 3484 | vel3d_a_northward_velocity | m s-1
RS01SBPD-DP01A-02-VEL3DA103 | recovered_wfp | dpc_acm_instrument_recovered | 3485 | vel3d_a_upward_velocity_ascending | m s-1
RS01SBPD-DP01A-02-VEL3DA103 | recovered_wfp | dpc_acm_instrument_recovered | 3486 | vel3d_a_upward_velocity_descending | m s-1
RS01SBPD-DP01A-03-FLCDRA102 | recovered_inst | dpc_flcdrtd_instrument_recovered | 2846 | flcdr_x_mmp_cds_fluorometric_cdom | ppb
RS01SBPD-DP01A-03-FLCDRA102 | recovered_wfp | dpc_flcdrtd_instrument_recovered | 2846 | flcdr_x_mmp_cds_fluorometric_cdom | ppb
RS01SBPD-DP01A-04-FLNTUA102 | recovered_inst | dpc_flnturtd_instrument_recovered | 2847 | flntu_x_mmp_cds_total_volume_scattering_coefficient | m-1 sr-1
RS01SBPD-DP01A-04-FLNTUA102 | recovered_inst | dpc_flnturtd_instrument_recovered | 2848 | flntu_x_mmp_cds_fluorometric_chlorophyll_a | ug L-1
RS01SBPD-DP01A-04-FLNTUA102 | recovered_inst | dpc_flnturtd_instrument_recovered | 2849 | flntu_x_mmp_cds_bback_total | m-1
RS01SBPD-DP01A-04-FLNTUA102 | recovered_wfp | dpc_flnturtd_instrument_recovered | 2847 | flntu_x_mmp_cds_total_volume_scattering_coefficient | m-1 sr-1
RS01SBPD-DP01A-04-FLNTUA102 | recovered_wfp | dpc_flnturtd_instrument_recovered | 2848 | flntu_x_mmp_cds_fluorometric_chlorophyll_a | ug L-1
RS01SBPD-DP01A-04-FLNTUA102 | recovered_wfp | dpc_flnturtd_instrument_recovered | 2849 | flntu_x_mmp_cds_bback_total | m-1
RS01SBPD-DP01A-05-OPTAAC102 | recovered_inst | dpc_acs_instrument_recovered | 19 | beam_attenuation | m-1
RS01SBPD-DP01A-05-OPTAAC102 | recovered_inst | dpc_acs_instrument_recovered | 20 | optical_absorption | m-1
RS01SBPD-DP01A-05-OPTAAC102 | recovered_inst | dpc_acs_instrument_recovered | 8080 | wavelength_a | nm
RS01SBPD-DP01A-05-OPTAAC102 | recovered_inst | dpc_acs_instrument_recovered | 8081 | wavelength_c | nm
RS01SBPD-DP01A-05-OPTAAC102 | recovered_inst | dpc_acs_instrument_recovered | 8082 | wavelength | 1
RS01SBPD-DP01A-05-OPTAAC102 | recovered_wfp | dpc_acs_instrument_recovered | 19 | beam_attenuation | m-1
RS01SBPD-DP01A-05-OPTAAC102 | recovered_wfp | dpc_acs_instrument_recovered | 20 | optical_absorption | m-1
RS01SBPD-DP01A-05-OPTAAC102 | recovered_wfp | dpc_acs_instrument_recovered | 8080 | wavelength_a | nm
RS01SBPD-DP01A-05-OPTAAC102 | recovered_wfp | dpc_acs_instrument_recovered | 8081 | wavelength_c | nm
RS01SBPD-DP01A-05-OPTAAC102 | recovered_wfp | dpc_acs_instrument_recovered | 8082 | wavelength | 1
RS01SBPD-DP01A-06-DOSTAD104 | recovered_inst | dpc_optode_instrument_recovered | 14 | dissolved_oxygen | Œµmol kg-1
RS01SBPD-DP01A-06-DOSTAD104 | recovered_inst | dpc_optode_instrument_recovered | 2843 | dosta_abcdjm_cspp_tc_oxygen | umol L-1
RS01SBPD-DP01A-06-DOSTAD104 | recovered_wfp | dpc_optode_instrument_recovered | 14 | dissolved_oxygen | Œµmol kg-1
RS01SBPD-DP01A-06-DOSTAD104 | recovered_wfp | dpc_optode_instrument_recovered | 2843 | dosta_abcdjm_cspp_tc_oxygen | umol L-1
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_beam | 3821 | upward_seawater_velocity | m s-1
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
RS01SBPS-PC01A-05-ADCPTD102 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
RS01SBPS-PC01A-06-VADCPA101 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
RS01SBPS-PC01A-06-VADCPA101 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
RS01SBPS-PC01A-06-VADCPA101 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
RS01SBPS-PC01A-06-VADCPA101 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 3827 | estimated_upward_seawater_velocity | m s-1
RS01SBPS-PC01A-06-VADCPA101 | streamed | vadcp_velocity_beam | 3828 | upward_seawater_velocity | m s-1
RS01SBPS-PC01A-4A-CTDPFA103 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS01SBPS-PC01A-4A-CTDPFA103 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS01SBPS-PC01A-4A-CTDPFA103 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS01SBPS-PC01A-4A-CTDPFA103 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS01SBPS-PC01A-4A-CTDPFA103 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS01SBPS-PC01A-4A-CTDPFA103 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS01SBPS-PC01A-4A-CTDPFA103 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS01SBPS-PC01A-4A-DOSTAD103 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS01SBPS-PC01A-4A-DOSTAD103 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS01SBPS-PC01A-4A-DOSTAD103 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS01SBPS-PC01A-4A-DOSTAD103 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS01SBPS-PC01A-4A-DOSTAD103 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS01SBPS-PC01A-4A-DOSTAD103 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS01SBPS-PC01A-4A-DOSTAD103 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS01SBPS-PC01A-4B-PHSENA102 | streamed | phsen_data_record | 938 | phsen_thermistor_temperature | V
RS01SBPS-PC01A-4B-PHSENA102 | streamed | phsen_data_record | 939 | ph_seawater | 1
RS01SBPS-PC01A-4C-FLORDD103 | streamed | flort_d_data_record | 21 | seawater_scattering_coefficient | m-1
RS01SBPS-PC01A-4C-FLORDD103 | streamed | flort_d_data_record | 22 | fluorometric_chlorophyll_a | Œµg L-1
RS01SBPS-PC01A-4C-FLORDD103 | streamed | flort_d_data_record | 23 | fluorometric_cdom | ppb
RS01SBPS-PC01A-4C-FLORDD103 | streamed | flort_d_data_record | 25 | optical_backscatter | m-1
RS01SBPS-SF01A-2A-CTDPFA102 | streamed | ctdpf_sbe43_sample | 5 | density | kg m-3
RS01SBPS-SF01A-2A-CTDPFA102 | streamed | ctdpf_sbe43_sample | 13 | practical_salinity | 1
RS01SBPS-SF01A-2A-CTDPFA102 | streamed | ctdpf_sbe43_sample | 908 | seawater_temperature | deg_C
RS01SBPS-SF01A-2A-CTDPFA102 | streamed | ctdpf_sbe43_sample | 909 | seawater_pressure | dbar
RS01SBPS-SF01A-2A-CTDPFA102 | streamed | ctdpf_sbe43_sample | 910 | seawater_conductivity | S m-1
RS01SBPS-SF01A-2A-CTDPFA102 | streamed | ctdpf_sbe43_sample | 3777 | corrected_dissolved_oxygen | Œµmol kg-1
RS01SBPS-SF01A-2A-DOFSTA102 | streamed | ctdpf_sbe43_sample | 5 | density | kg m-3
RS01SBPS-SF01A-2A-DOFSTA102 | streamed | ctdpf_sbe43_sample | 13 | practical_salinity | 1
RS01SBPS-SF01A-2A-DOFSTA102 | streamed | ctdpf_sbe43_sample | 908 | seawater_temperature | deg_C
RS01SBPS-SF01A-2A-DOFSTA102 | streamed | ctdpf_sbe43_sample | 909 | seawater_pressure | dbar
RS01SBPS-SF01A-2A-DOFSTA102 | streamed | ctdpf_sbe43_sample | 910 | seawater_conductivity | S m-1
RS01SBPS-SF01A-2A-DOFSTA102 | streamed | ctdpf_sbe43_sample | 3777 | corrected_dissolved_oxygen | Œµmol kg-1
RS01SBPS-SF01A-2D-PHSENA101 | streamed | phsen_data_record | 938 | phsen_thermistor_temperature | V
RS01SBPS-SF01A-2D-PHSENA101 | streamed | phsen_data_record | 939 | ph_seawater | 1
RS01SBPS-SF01A-3A-FLORTD101 | streamed | flort_d_data_record | 21 | seawater_scattering_coefficient | m-1
RS01SBPS-SF01A-3A-FLORTD101 | streamed | flort_d_data_record | 22 | fluorometric_chlorophyll_a | Œµg L-1
RS01SBPS-SF01A-3A-FLORTD101 | streamed | flort_d_data_record | 23 | fluorometric_cdom | ppb
RS01SBPS-SF01A-3A-FLORTD101 | streamed | flort_d_data_record | 25 | optical_backscatter | m-1
RS01SBPS-SF01A-3B-OPTAAD101 | streamed | optaa_sample | 19 | beam_attenuation | m-1
RS01SBPS-SF01A-3B-OPTAAD101 | streamed | optaa_sample | 20 | optical_absorption | m-1
RS01SBPS-SF01A-3B-OPTAAD101 | streamed | optaa_sample | 8080 | wavelength_a | nm
RS01SBPS-SF01A-3B-OPTAAD101 | streamed | optaa_sample | 8081 | wavelength_c | nm
RS01SBPS-SF01A-3B-OPTAAD101 | streamed | optaa_sample | 8082 | wavelength | 1
RS01SBPS-SF01A-3C-PARADA101 | streamed | parad_sa_sample | 192 | par_counts_output | umol photons m-2 s-1
RS01SBPS-SF01A-3D-SPKIRA101 | streamed | spkir_data_record | 2645 | spkir_downwelling_vector | uW cm-2 nm-1
RS01SBPS-SF01A-4A-NUTNRA101 | streamed | nutnr_a_dark_sample | 315 | nitrate_concentration | uMol L-1
RS01SBPS-SF01A-4A-NUTNRA101 | streamed | nutnr_a_sample | 18 | salinity_corrected_nitrate | Œµmol L-1
RS01SBPS-SF01A-4A-NUTNRA101 | streamed | nutnr_a_sample | 315 | nitrate_concentration | uMol L-1
RS01SBPS-SF01A-4B-VELPTD102 | streamed | velpt_velocity_data | 3230 | velpt_d_eastward_velocity | m s-1
RS01SBPS-SF01A-4B-VELPTD102 | streamed | velpt_velocity_data | 3231 | velpt_d_northward_velocity | m s-1
RS01SBPS-SF01A-4B-VELPTD102 | streamed | velpt_velocity_data | 3232 | velpt_d_upward_velocity | m s-1
RS01SBPS-SF01A-4B-VELPTD102 | streamed | velpt_velocity_data | 3248 | pressure_mbar | 0.001 dbar
RS01SBPS-SF01A-4F-PCO2WA101 | streamed | pco2w_a_sami_data_record | 930 | pco2w_thermistor_temperature | deg_C
RS01SBPS-SF01A-4F-PCO2WA101 | streamed | pco2w_a_sami_data_record | 931 | pco2_seawater | uatm
RS01SLBS-LJ01A-05-HPIESA101 | streamed | echo_sounding | 3785 | hpies_pressure_L1 | dbar
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_beam | 3821 | upward_seawater_velocity | m s-1
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
RS01SLBS-LJ01A-10-ADCPTE101 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
RS01SLBS-LJ01A-11-OPTAAC103 | streamed | optaa_sample | 19 | beam_attenuation | m-1
RS01SLBS-LJ01A-11-OPTAAC103 | streamed | optaa_sample | 20 | optical_absorption | m-1
RS01SLBS-LJ01A-11-OPTAAC103 | streamed | optaa_sample | 8080 | wavelength_a | nm
RS01SLBS-LJ01A-11-OPTAAC103 | streamed | optaa_sample | 8081 | wavelength_c | nm
RS01SLBS-LJ01A-11-OPTAAC103 | streamed | optaa_sample | 8082 | wavelength | 1
RS01SLBS-LJ01A-12-CTDPFB101 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS01SLBS-LJ01A-12-CTDPFB101 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS01SLBS-LJ01A-12-CTDPFB101 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS01SLBS-LJ01A-12-CTDPFB101 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS01SLBS-LJ01A-12-CTDPFB101 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS01SLBS-LJ01A-12-CTDPFB101 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS01SLBS-LJ01A-12-CTDPFB101 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS01SLBS-LJ01A-12-DOSTAD101 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS01SLBS-LJ01A-12-DOSTAD101 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS01SLBS-LJ01A-12-DOSTAD101 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS01SLBS-LJ01A-12-DOSTAD101 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS01SLBS-LJ01A-12-DOSTAD101 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS01SLBS-LJ01A-12-DOSTAD101 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS01SLBS-LJ01A-12-DOSTAD101 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS01SLBS-MJ01A-06-PRESTA101 | streamed | prest_real_time | 891 | seafloor_pressure | dbar
RS01SLBS-MJ01A-12-VEL3DB101 | streamed | vel3d_b_sample | 878 | eastward_turbulent_velocity | m s-1
RS01SLBS-MJ01A-12-VEL3DB101 | streamed | vel3d_b_sample | 879 | northward_turbulent_velocity | m s-1
RS01SLBS-MJ01A-12-VEL3DB101 | streamed | vel3d_b_sample | 880 | upward_turbulent_velocity | m s-1
RS01SUM1-LJ01B-09-PRESTB102 | streamed | prest_real_time | 891 | seafloor_pressure | dbar
RS01SUM1-LJ01B-12-VEL3DB104 | streamed | vel3d_b_sample | 878 | eastward_turbulent_velocity | m s-1
RS01SUM1-LJ01B-12-VEL3DB104 | streamed | vel3d_b_sample | 879 | northward_turbulent_velocity | m s-1
RS01SUM1-LJ01B-12-VEL3DB104 | streamed | vel3d_b_sample | 880 | upward_turbulent_velocity | m s-1
RS01SUM2-MJ01B-00-OSMOIA101 | recovered_inst | osmoi_a_subcon_instrument_recovered | 6 | temp | deg_C
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_beam | 3821 | upward_seawater_velocity | m s-1
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
RS01SUM2-MJ01B-12-ADCPSK101 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
RS03ASHS-MJ03B-00-OSMOIA301 | recovered_inst | osmoi_a_subcon_instrument_recovered | 6 | temp | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2713 | temperature01 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2714 | temperature02 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2715 | temperature03 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2716 | temperature04 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2717 | temperature05 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2718 | temperature06 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2719 | temperature07 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2720 | temperature08 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2721 | temperature09 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2722 | temperature10 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2723 | temperature11 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2724 | temperature12 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2725 | temperature13 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2726 | temperature14 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2727 | temperature15 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2728 | temperature16 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2729 | temperature17 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2730 | temperature18 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2731 | temperature19 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2732 | temperature20 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2733 | temperature21 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2734 | temperature22 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2735 | temperature23 | deg_C
RS03ASHS-MJ03B-07-TMPSFA301 | streamed | tmpsf_sample | 2736 | temperature24 | deg_C
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_lily_sample | 1133 | corrected_compass_direction | degrees
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_lily_sample | 1134 | seafloor_tilt_magnitude | urad
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_lily_sample | 1135 | seafloor_tilt_direction | degrees
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample | 848 | bottom_pressure | psia
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample_24hr | 3661 | botsflu_daydepth | m
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample_24hr | 3662 | botsflu_4wkrate | cm yr-1
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample_24hr | 3663 | botsflu_8wkrate | cm yr-1
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample_15s | 3656 | botsflu_meanpres | psi
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample_15s | 3657 | botsflu_meandepth | m
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample_15s | 3658 | botsflu_5minrate | cm min-1
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample_15s | 3659 | botsflu_10minrate | cm hr-1
RS03ASHS-MJ03B-09-BOTPTA304 | streamed | botpt_nano_sample_15s | 3664 | botsflu_predtide | m
RS03ASHS-MJ03B-10-CTDPFB304 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS03ASHS-MJ03B-10-CTDPFB304 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS03ASHS-MJ03B-10-CTDPFB304 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS03ASHS-MJ03B-10-CTDPFB304 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS03ASHS-MJ03B-10-CTDPFB304 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS03ASHS-MJ03B-10-CTDPFB304 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS03ASHS-MJ03B-10-CTDPFB304 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS03AXBS-LJ03A-05-HPIESA301 | streamed | echo_sounding | 3785 | hpies_pressure_L1 | dbar
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_beam | 3821 | upward_seawater_velocity | m s-1
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
RS03AXBS-LJ03A-10-ADCPTE303 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
RS03AXBS-LJ03A-11-OPTAAC303 | streamed | optaa_sample | 19 | beam_attenuation | m-1
RS03AXBS-LJ03A-11-OPTAAC303 | streamed | optaa_sample | 20 | optical_absorption | m-1
RS03AXBS-LJ03A-11-OPTAAC303 | streamed | optaa_sample | 8080 | wavelength_a | nm
RS03AXBS-LJ03A-11-OPTAAC303 | streamed | optaa_sample | 8081 | wavelength_c | nm
RS03AXBS-LJ03A-11-OPTAAC303 | streamed | optaa_sample | 8082 | wavelength | 1
RS03AXBS-LJ03A-12-CTDPFB301 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS03AXBS-LJ03A-12-CTDPFB301 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS03AXBS-LJ03A-12-CTDPFB301 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS03AXBS-LJ03A-12-CTDPFB301 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS03AXBS-LJ03A-12-CTDPFB301 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS03AXBS-LJ03A-12-CTDPFB301 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS03AXBS-LJ03A-12-CTDPFB301 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS03AXBS-LJ03A-12-DOSTAD301 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS03AXBS-LJ03A-12-DOSTAD301 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS03AXBS-LJ03A-12-DOSTAD301 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS03AXBS-LJ03A-12-DOSTAD301 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS03AXBS-LJ03A-12-DOSTAD301 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS03AXBS-LJ03A-12-DOSTAD301 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS03AXBS-LJ03A-12-DOSTAD301 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS03AXBS-MJ03A-06-PRESTA301 | streamed | prest_real_time | 891 | seafloor_pressure | dbar
RS03AXBS-MJ03A-12-VEL3DB301 | streamed | vel3d_b_sample | 878 | eastward_turbulent_velocity | m s-1
RS03AXBS-MJ03A-12-VEL3DB301 | streamed | vel3d_b_sample | 879 | northward_turbulent_velocity | m s-1
RS03AXBS-MJ03A-12-VEL3DB301 | streamed | vel3d_b_sample | 880 | upward_turbulent_velocity | m s-1
RS03AXPD-DP03A-01-CTDPFL304 | recovered_inst | dpc_ctd_instrument_recovered | 2 | pressure | dbar
RS03AXPD-DP03A-01-CTDPFL304 | recovered_inst | dpc_ctd_instrument_recovered | 5 | density | kg m-3
RS03AXPD-DP03A-01-CTDPFL304 | recovered_inst | dpc_ctd_instrument_recovered | 6 | temp | deg_C
RS03AXPD-DP03A-01-CTDPFL304 | recovered_inst | dpc_ctd_instrument_recovered | 13 | practical_salinity | 1
RS03AXPD-DP03A-01-CTDPFL304 | recovered_inst | dpc_ctd_instrument_recovered | 3706 | dpc_ctd_seawater_conductivity | S m-1
RS03AXPD-DP03A-01-CTDPFL304 | recovered_wfp | dpc_ctd_instrument_recovered | 2 | pressure | dbar
RS03AXPD-DP03A-01-CTDPFL304 | recovered_wfp | dpc_ctd_instrument_recovered | 5 | density | kg m-3
RS03AXPD-DP03A-01-CTDPFL304 | recovered_wfp | dpc_ctd_instrument_recovered | 6 | temp | deg_C
RS03AXPD-DP03A-01-CTDPFL304 | recovered_wfp | dpc_ctd_instrument_recovered | 13 | practical_salinity | 1
RS03AXPD-DP03A-01-CTDPFL304 | recovered_wfp | dpc_ctd_instrument_recovered | 3706 | dpc_ctd_seawater_conductivity | S m-1
RS03AXPD-DP03A-02-VEL3DA303 | recovered_inst | dpc_acm_instrument_recovered | 3483 | vel3d_a_eastward_velocity | m s-1
RS03AXPD-DP03A-02-VEL3DA303 | recovered_inst | dpc_acm_instrument_recovered | 3484 | vel3d_a_northward_velocity | m s-1
RS03AXPD-DP03A-02-VEL3DA303 | recovered_inst | dpc_acm_instrument_recovered | 3485 | vel3d_a_upward_velocity_ascending | m s-1
RS03AXPD-DP03A-02-VEL3DA303 | recovered_inst | dpc_acm_instrument_recovered | 3486 | vel3d_a_upward_velocity_descending | m s-1
RS03AXPD-DP03A-02-VEL3DA303 | recovered_wfp | dpc_acm_instrument_recovered | 3483 | vel3d_a_eastward_velocity | m s-1
RS03AXPD-DP03A-02-VEL3DA303 | recovered_wfp | dpc_acm_instrument_recovered | 3484 | vel3d_a_northward_velocity | m s-1
RS03AXPD-DP03A-02-VEL3DA303 | recovered_wfp | dpc_acm_instrument_recovered | 3485 | vel3d_a_upward_velocity_ascending | m s-1
RS03AXPD-DP03A-02-VEL3DA303 | recovered_wfp | dpc_acm_instrument_recovered | 3486 | vel3d_a_upward_velocity_descending | m s-1
RS03AXPD-DP03A-03-FLCDRA302 | recovered_inst | dpc_flcdrtd_instrument_recovered | 2846 | flcdr_x_mmp_cds_fluorometric_cdom | ppb
RS03AXPD-DP03A-03-FLCDRA302 | recovered_wfp | dpc_flcdrtd_instrument_recovered | 2846 | flcdr_x_mmp_cds_fluorometric_cdom | ppb
RS03AXPD-DP03A-03-FLNTUA302 | recovered_inst | dpc_flnturtd_instrument_recovered | 2847 | flntu_x_mmp_cds_total_volume_scattering_coefficient | m-1 sr-1
RS03AXPD-DP03A-03-FLNTUA302 | recovered_inst | dpc_flnturtd_instrument_recovered | 2848 | flntu_x_mmp_cds_fluorometric_chlorophyll_a | ug L-1
RS03AXPD-DP03A-03-FLNTUA302 | recovered_inst | dpc_flnturtd_instrument_recovered | 2849 | flntu_x_mmp_cds_bback_total | m-1
RS03AXPD-DP03A-03-FLNTUA302 | recovered_wfp | dpc_flnturtd_instrument_recovered | 2847 | flntu_x_mmp_cds_total_volume_scattering_coefficient | m-1 sr-1
RS03AXPD-DP03A-03-FLNTUA302 | recovered_wfp | dpc_flnturtd_instrument_recovered | 2848 | flntu_x_mmp_cds_fluorometric_chlorophyll_a | ug L-1
RS03AXPD-DP03A-03-FLNTUA302 | recovered_wfp | dpc_flnturtd_instrument_recovered | 2849 | flntu_x_mmp_cds_bback_total | m-1
RS03AXPD-DP03A-05-OPTAAC302 | recovered_inst | dpc_acs_instrument_recovered | 19 | beam_attenuation | m-1
RS03AXPD-DP03A-05-OPTAAC302 | recovered_inst | dpc_acs_instrument_recovered | 20 | optical_absorption | m-1
RS03AXPD-DP03A-05-OPTAAC302 | recovered_inst | dpc_acs_instrument_recovered | 8080 | wavelength_a | nm
RS03AXPD-DP03A-05-OPTAAC302 | recovered_inst | dpc_acs_instrument_recovered | 8081 | wavelength_c | nm
RS03AXPD-DP03A-05-OPTAAC302 | recovered_inst | dpc_acs_instrument_recovered | 8082 | wavelength | 1
RS03AXPD-DP03A-05-OPTAAC302 | recovered_wfp | dpc_acs_instrument_recovered | 19 | beam_attenuation | m-1
RS03AXPD-DP03A-05-OPTAAC302 | recovered_wfp | dpc_acs_instrument_recovered | 20 | optical_absorption | m-1
RS03AXPD-DP03A-05-OPTAAC302 | recovered_wfp | dpc_acs_instrument_recovered | 8080 | wavelength_a | nm
RS03AXPD-DP03A-05-OPTAAC302 | recovered_wfp | dpc_acs_instrument_recovered | 8081 | wavelength_c | nm
RS03AXPD-DP03A-05-OPTAAC302 | recovered_wfp | dpc_acs_instrument_recovered | 8082 | wavelength | 1
RS03AXPD-DP03A-06-DOSTAD304 | recovered_inst | dpc_optode_instrument_recovered | 14 | dissolved_oxygen | Œµmol kg-1
RS03AXPD-DP03A-06-DOSTAD304 | recovered_inst | dpc_optode_instrument_recovered | 2843 | dosta_abcdjm_cspp_tc_oxygen | umol L-1
RS03AXPD-DP03A-06-DOSTAD304 | recovered_wfp | dpc_optode_instrument_recovered | 14 | dissolved_oxygen | Œµmol kg-1
RS03AXPD-DP03A-06-DOSTAD304 | recovered_wfp | dpc_optode_instrument_recovered | 2843 | dosta_abcdjm_cspp_tc_oxygen | umol L-1
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_beam | 3821 | upward_seawater_velocity | m s-1
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
RS03AXPS-PC03A-05-ADCPTD302 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
RS03AXPS-PC03A-06-VADCPA301 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
RS03AXPS-PC03A-06-VADCPA301 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
RS03AXPS-PC03A-06-VADCPA301 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
RS03AXPS-PC03A-06-VADCPA301 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 3827 | estimated_upward_seawater_velocity | m s-1
RS03AXPS-PC03A-06-VADCPA301 | streamed | vadcp_velocity_beam | 3828 | upward_seawater_velocity | m s-1
RS03AXPS-PC03A-4A-CTDPFA303 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS03AXPS-PC03A-4A-CTDPFA303 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS03AXPS-PC03A-4A-CTDPFA303 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS03AXPS-PC03A-4A-CTDPFA303 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS03AXPS-PC03A-4A-CTDPFA303 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS03AXPS-PC03A-4A-CTDPFA303 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS03AXPS-PC03A-4A-CTDPFA303 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS03AXPS-PC03A-4A-DOSTAD303 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
RS03AXPS-PC03A-4A-DOSTAD303 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
RS03AXPS-PC03A-4A-DOSTAD303 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
RS03AXPS-PC03A-4A-DOSTAD303 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
RS03AXPS-PC03A-4A-DOSTAD303 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
RS03AXPS-PC03A-4A-DOSTAD303 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
RS03AXPS-PC03A-4A-DOSTAD303 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
RS03AXPS-PC03A-4B-PHSENA302 | streamed | phsen_data_record | 938 | phsen_thermistor_temperature | V
RS03AXPS-PC03A-4B-PHSENA302 | streamed | phsen_data_record | 939 | ph_seawater | 1
RS03AXPS-PC03A-4C-FLORDD303 | streamed | flort_d_data_record | 21 | seawater_scattering_coefficient | m-1
RS03AXPS-PC03A-4C-FLORDD303 | streamed | flort_d_data_record | 22 | fluorometric_chlorophyll_a | Œµg L-1
RS03AXPS-PC03A-4C-FLORDD303 | streamed | flort_d_data_record | 23 | fluorometric_cdom | ppb
RS03AXPS-PC03A-4C-FLORDD303 | streamed | flort_d_data_record | 25 | optical_backscatter | m-1
RS03AXPS-SF03A-2A-CTDPFA302 | streamed | ctdpf_sbe43_sample | 5 | density | kg m-3
RS03AXPS-SF03A-2A-CTDPFA302 | streamed | ctdpf_sbe43_sample | 13 | practical_salinity | 1
RS03AXPS-SF03A-2A-CTDPFA302 | streamed | ctdpf_sbe43_sample | 908 | seawater_temperature | deg_C
RS03AXPS-SF03A-2A-CTDPFA302 | streamed | ctdpf_sbe43_sample | 909 | seawater_pressure | dbar
RS03AXPS-SF03A-2A-CTDPFA302 | streamed | ctdpf_sbe43_sample | 910 | seawater_conductivity | S m-1
RS03AXPS-SF03A-2A-CTDPFA302 | streamed | ctdpf_sbe43_sample | 3777 | corrected_dissolved_oxygen | Œµmol kg-1
RS03AXPS-SF03A-2A-DOFSTA302 | streamed | ctdpf_sbe43_sample | 5 | density | kg m-3
RS03AXPS-SF03A-2A-DOFSTA302 | streamed | ctdpf_sbe43_sample | 13 | practical_salinity | 1
RS03AXPS-SF03A-2A-DOFSTA302 | streamed | ctdpf_sbe43_sample | 908 | seawater_temperature | deg_C
RS03AXPS-SF03A-2A-DOFSTA302 | streamed | ctdpf_sbe43_sample | 909 | seawater_pressure | dbar
RS03AXPS-SF03A-2A-DOFSTA302 | streamed | ctdpf_sbe43_sample | 910 | seawater_conductivity | S m-1
RS03AXPS-SF03A-2A-DOFSTA302 | streamed | ctdpf_sbe43_sample | 3777 | corrected_dissolved_oxygen | Œµmol kg-1
RS03AXPS-SF03A-2D-PHSENA301 | streamed | phsen_data_record | 938 | phsen_thermistor_temperature | V
RS03AXPS-SF03A-2D-PHSENA301 | streamed | phsen_data_record | 939 | ph_seawater | 1
RS03AXPS-SF03A-3A-FLORTD301 | streamed | flort_d_data_record | 21 | seawater_scattering_coefficient | m-1
RS03AXPS-SF03A-3A-FLORTD301 | streamed | flort_d_data_record | 22 | fluorometric_chlorophyll_a | Œµg L-1
RS03AXPS-SF03A-3A-FLORTD301 | streamed | flort_d_data_record | 23 | fluorometric_cdom | ppb
RS03AXPS-SF03A-3A-FLORTD301 | streamed | flort_d_data_record | 25 | optical_backscatter | m-1
RS03AXPS-SF03A-3B-OPTAAD301 | streamed | optaa_sample | 19 | beam_attenuation | m-1
RS03AXPS-SF03A-3B-OPTAAD301 | streamed | optaa_sample | 20 | optical_absorption | m-1
RS03AXPS-SF03A-3B-OPTAAD301 | streamed | optaa_sample | 8080 | wavelength_a | nm
RS03AXPS-SF03A-3B-OPTAAD301 | streamed | optaa_sample | 8081 | wavelength_c | nm
RS03AXPS-SF03A-3B-OPTAAD301 | streamed | optaa_sample | 8082 | wavelength | 1
RS03AXPS-SF03A-3C-PARADA301 | streamed | parad_sa_sample | 192 | par_counts_output | umol photons m-2 s-1
RS03AXPS-SF03A-3D-SPKIRA301 | streamed | spkir_data_record | 2645 | spkir_downwelling_vector | uW cm-2 nm-1
RS03AXPS-SF03A-4A-NUTNRA301 | streamed | nutnr_a_dark_sample | 315 | nitrate_concentration | uMol L-1
RS03AXPS-SF03A-4A-NUTNRA301 | streamed | nutnr_a_sample | 18 | salinity_corrected_nitrate | Œµmol L-1
RS03AXPS-SF03A-4A-NUTNRA301 | streamed | nutnr_a_sample | 315 | nitrate_concentration | uMol L-1
RS03AXPS-SF03A-4B-VELPTD302 | streamed | velpt_velocity_data | 3230 | velpt_d_eastward_velocity | m s-1
RS03AXPS-SF03A-4B-VELPTD302 | streamed | velpt_velocity_data | 3231 | velpt_d_northward_velocity | m s-1
RS03AXPS-SF03A-4B-VELPTD302 | streamed | velpt_velocity_data | 3232 | velpt_d_upward_velocity | m s-1
RS03AXPS-SF03A-4B-VELPTD302 | streamed | velpt_velocity_data | 3248 | pressure_mbar | 0.001 dbar
RS03AXPS-SF03A-4F-PCO2WA301 | streamed | pco2w_a_sami_data_record | 930 | pco2w_thermistor_temperature | deg_C
RS03AXPS-SF03A-4F-PCO2WA301 | streamed | pco2w_a_sami_data_record | 931 | pco2_seawater | uatm
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_lily_sample | 1133 | corrected_compass_direction | degrees
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_lily_sample | 1134 | seafloor_tilt_magnitude | urad
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_lily_sample | 1135 | seafloor_tilt_direction | degrees
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample | 848 | bottom_pressure | psia
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample_24hr | 3661 | botsflu_daydepth | m
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample_24hr | 3662 | botsflu_4wkrate | cm yr-1
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample_24hr | 3663 | botsflu_8wkrate | cm yr-1
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample_15s | 3656 | botsflu_meanpres | psi
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample_15s | 3657 | botsflu_meandepth | m
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample_15s | 3658 | botsflu_5minrate | cm min-1
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample_15s | 3659 | botsflu_10minrate | cm hr-1
RS03CCAL-MJ03F-05-BOTPTA301 | streamed | botpt_nano_sample_15s | 3664 | botsflu_predtide | m
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_lily_sample | 1133 | corrected_compass_direction | degrees
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_lily_sample | 1134 | seafloor_tilt_magnitude | urad
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_lily_sample | 1135 | seafloor_tilt_direction | degrees
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample | 848 | bottom_pressure | psia
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample_24hr | 3661 | botsflu_daydepth | m
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample_24hr | 3662 | botsflu_4wkrate | cm yr-1
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample_24hr | 3663 | botsflu_8wkrate | cm yr-1
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample_15s | 3656 | botsflu_meanpres | psi
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample_15s | 3657 | botsflu_meandepth | m
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample_15s | 3658 | botsflu_5minrate | cm min-1
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample_15s | 3659 | botsflu_10minrate | cm hr-1
RS03ECAL-MJ03E-06-BOTPTA302 | streamed | botpt_nano_sample_15s | 3664 | botsflu_predtide | m
RS03INT1-MJ03C-07-RASFLA301 | recovered_inst | d1000_sample | 1048 | temperature1 | deg_C
RS03INT1-MJ03C-07-RASFLA301 | recovered_inst | d1000_sample | 1049 | temperature2 | deg_C
RS03INT1-MJ03C-07-RASFLA301 | recovered_inst | d1000_sample | 1050 | temperature3 | deg_C
RS03INT1-MJ03C-07-RASFLA301 | recovered_inst | rasfl_a_subcon_instrument_recovered | 6 | temp | deg_C
RS03INT1-MJ03C-09-THSPHA301 | streamed | thsph_sample | 2624 | thsph_temp_th | deg_C
RS03INT1-MJ03C-09-THSPHA301 | streamed | thsph_sample | 2625 | thsph_temp_tl | deg_C
RS03INT1-MJ03C-09-THSPHA301 | streamed | thsph_sample | 2630 | thsph_ph | 1
RS03INT1-MJ03C-09-THSPHA301 | streamed | thsph_sample | 2631 | thsph_ph_acl | 1
RS03INT1-MJ03C-09-THSPHA301 | streamed | thsph_sample | 2632 | thsph_ph_noref | 1
RS03INT1-MJ03C-09-THSPHA301 | streamed | thsph_sample | 2633 | thsph_ph_noref_acl | 1
RS03INT1-MJ03C-09-THSPHA301 | streamed | thsph_sample | 2634 | thsph_sulfide | mmol kg-1
RS03INT1-MJ03C-09-THSPHA301 | streamed | thsph_sample | 2635 | thsph_hydrogen | mmol kg-1
RS03INT1-MJ03C-10-TRHPHA301 | streamed | trhph_sample | 965 | vent_fluid_temperaure | deg_C
RS03INT1-MJ03C-10-TRHPHA301 | streamed | trhph_sample | 966 | vent_fluid_chloride_conc | mmol kg-1
RS03INT1-MJ03C-10-TRHPHA301 | streamed | trhph_sample | 967 | vent_fluid_orp | mV
RS03INT1-MJ03C-10-TRHPHA301 | streamed | trhph_sample | 2623 | trhph_thermistor_temp | deg_C
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_lily_sample | 1133 | corrected_compass_direction | degrees
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_lily_sample | 1134 | seafloor_tilt_magnitude | urad
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_lily_sample | 1135 | seafloor_tilt_direction | degrees
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample | 848 | bottom_pressure | psia
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample_24hr | 3661 | botsflu_daydepth | m
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample_24hr | 3662 | botsflu_4wkrate | cm yr-1
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample_24hr | 3663 | botsflu_8wkrate | cm yr-1
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample_15s | 3656 | botsflu_meanpres | psi
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample_15s | 3657 | botsflu_meandepth | m
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample_15s | 3658 | botsflu_5minrate | cm min-1
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample_15s | 3659 | botsflu_10minrate | cm hr-1
RS03INT2-MJ03D-06-BOTPTA303 | streamed | botpt_nano_sample_15s | 3664 | botsflu_predtide | m
RS03INT2-MJ03D-12-VEL3DB304 | streamed | vel3d_b_sample | 878 | eastward_turbulent_velocity | m s-1
RS03INT2-MJ03D-12-VEL3DB304 | streamed | vel3d_b_sample | 879 | northward_turbulent_velocity | m s-1
RS03INT2-MJ03D-12-VEL3DB304 | streamed | vel3d_b_sample | 880 | upward_turbulent_velocity | m s-1
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_beam | 3821 | upward_seawater_velocity | m s-1
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
CE02SHBP-LJ01D-05-ADCPTB104 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
CE02SHBP-LJ01D-06-CTDBPN106 | streamed | ctdbp_no_sample | 5 | density | kg m-3
CE02SHBP-LJ01D-06-CTDBPN106 | streamed | ctdbp_no_sample | 13 | practical_salinity | 1
CE02SHBP-LJ01D-06-CTDBPN106 | streamed | ctdbp_no_sample | 14 | dissolved_oxygen | Œµmol kg-1
CE02SHBP-LJ01D-06-CTDBPN106 | streamed | ctdbp_no_sample | 908 | seawater_temperature | deg_C
CE02SHBP-LJ01D-06-CTDBPN106 | streamed | ctdbp_no_sample | 964 | ctd_tc_oxygen | umol L-1
CE02SHBP-LJ01D-06-CTDBPN106 | streamed | ctdbp_no_sample | 3647 | ctdbp_no_seawater_pressure | dbar
CE02SHBP-LJ01D-06-CTDBPN106 | streamed | ctdbp_no_sample | 3648 | ctdbp_no_seawater_conductivity | S m-1
CE02SHBP-LJ01D-06-DOSTAD106 | streamed | ctdbp_no_sample | 5 | density | kg m-3
CE02SHBP-LJ01D-06-DOSTAD106 | streamed | ctdbp_no_sample | 13 | practical_salinity | 1
CE02SHBP-LJ01D-06-DOSTAD106 | streamed | ctdbp_no_sample | 14 | dissolved_oxygen | Œµmol kg-1
CE02SHBP-LJ01D-06-DOSTAD106 | streamed | ctdbp_no_sample | 908 | seawater_temperature | deg_C
CE02SHBP-LJ01D-06-DOSTAD106 | streamed | ctdbp_no_sample | 964 | ctd_tc_oxygen | umol L-1
CE02SHBP-LJ01D-06-DOSTAD106 | streamed | ctdbp_no_sample | 3647 | ctdbp_no_seawater_pressure | dbar
CE02SHBP-LJ01D-06-DOSTAD106 | streamed | ctdbp_no_sample | 3648 | ctdbp_no_seawater_conductivity | S m-1
CE02SHBP-LJ01D-07-VEL3DC108 | streamed | vel3d_cd_velocity_data | 1085 | vel3d_c_eastward_turbulent_velocity | m s-1
CE02SHBP-LJ01D-07-VEL3DC108 | streamed | vel3d_cd_velocity_data | 1086 | vel3d_c_northward_turbulent_velocity | m s-1
CE02SHBP-LJ01D-07-VEL3DC108 | streamed | vel3d_cd_velocity_data | 1087 | vel3d_c_upward_turbulent_velocity | m s-1
CE02SHBP-LJ01D-08-OPTAAD106 | streamed | optaa_sample | 19 | beam_attenuation | m-1
CE02SHBP-LJ01D-08-OPTAAD106 | streamed | optaa_sample | 20 | optical_absorption | m-1
CE02SHBP-LJ01D-08-OPTAAD106 | streamed | optaa_sample | 8080 | wavelength_a | nm
CE02SHBP-LJ01D-08-OPTAAD106 | streamed | optaa_sample | 8081 | wavelength_c | nm
CE02SHBP-LJ01D-08-OPTAAD106 | streamed | optaa_sample | 8082 | wavelength | 1
CE02SHBP-LJ01D-09-PCO2WB103 | streamed | pco2w_b_sami_data_record | 930 | pco2w_thermistor_temperature | deg_C
CE02SHBP-LJ01D-09-PCO2WB103 | streamed | pco2w_b_sami_data_record | 931 | pco2_seawater | uatm
CE02SHBP-LJ01D-10-PHSEND103 | streamed | phsen_data_record | 938 | phsen_thermistor_temperature | V
CE02SHBP-LJ01D-10-PHSEND103 | streamed | phsen_data_record | 939 | ph_seawater | 1
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_beam | 2769 | corrected_echo_intensity_beam1 | dB
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_beam | 2770 | corrected_echo_intensity_beam2 | dB
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_beam | 2771 | corrected_echo_intensity_beam3 | dB
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_beam | 2772 | corrected_echo_intensity_beam4 | dB
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_beam | 3819 | eastward_seawater_velocity | m s-1
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_beam | 3820 | northward_seawater_velocity | m s-1
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_beam | 3821 | upward_seawater_velocity | m s-1
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_beam | 3822 | error_seawater_velocity | m s-1
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_earth | 2769 | corrected_echo_intensity_beam1 | dB
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_earth | 2770 | corrected_echo_intensity_beam2 | dB
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_earth | 2771 | corrected_echo_intensity_beam3 | dB
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_earth | 2772 | corrected_echo_intensity_beam4 | dB
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_earth | 3823 | eastward_seawater_velocity | m s-1
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_earth | 3824 | northward_seawater_velocity | m s-1
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_earth | 3825 | upward_seawater_velocity | m s-1
CE04OSBP-LJ01C-05-ADCPSI103 | streamed | adcp_velocity_earth | 3826 | error_seawater_velocity | m s-1
CE04OSBP-LJ01C-06-CTDBPO108 | streamed | ctdbp_no_sample | 5 | density | kg m-3
CE04OSBP-LJ01C-06-CTDBPO108 | streamed | ctdbp_no_sample | 13 | practical_salinity | 1
CE04OSBP-LJ01C-06-CTDBPO108 | streamed | ctdbp_no_sample | 14 | dissolved_oxygen | Œµmol kg-1
CE04OSBP-LJ01C-06-CTDBPO108 | streamed | ctdbp_no_sample | 908 | seawater_temperature | deg_C
CE04OSBP-LJ01C-06-CTDBPO108 | streamed | ctdbp_no_sample | 964 | ctd_tc_oxygen | umol L-1
CE04OSBP-LJ01C-06-CTDBPO108 | streamed | ctdbp_no_sample | 3647 | ctdbp_no_seawater_pressure | dbar
CE04OSBP-LJ01C-06-CTDBPO108 | streamed | ctdbp_no_sample | 3648 | ctdbp_no_seawater_conductivity | S m-1
CE04OSBP-LJ01C-06-DOSTAD108 | streamed | ctdbp_no_sample | 5 | density | kg m-3
CE04OSBP-LJ01C-06-DOSTAD108 | streamed | ctdbp_no_sample | 13 | practical_salinity | 1
CE04OSBP-LJ01C-06-DOSTAD108 | streamed | ctdbp_no_sample | 14 | dissolved_oxygen | Œµmol kg-1
CE04OSBP-LJ01C-06-DOSTAD108 | streamed | ctdbp_no_sample | 908 | seawater_temperature | deg_C
CE04OSBP-LJ01C-06-DOSTAD108 | streamed | ctdbp_no_sample | 964 | ctd_tc_oxygen | umol L-1
CE04OSBP-LJ01C-06-DOSTAD108 | streamed | ctdbp_no_sample | 3647 | ctdbp_no_seawater_pressure | dbar
CE04OSBP-LJ01C-06-DOSTAD108 | streamed | ctdbp_no_sample | 3648 | ctdbp_no_seawater_conductivity | S m-1
CE04OSBP-LJ01C-07-VEL3DC107 | streamed | vel3d_cd_velocity_data | 1085 | vel3d_c_eastward_turbulent_velocity | m s-1
CE04OSBP-LJ01C-07-VEL3DC107 | streamed | vel3d_cd_velocity_data | 1086 | vel3d_c_northward_turbulent_velocity | m s-1
CE04OSBP-LJ01C-07-VEL3DC107 | streamed | vel3d_cd_velocity_data | 1087 | vel3d_c_upward_turbulent_velocity | m s-1
CE04OSBP-LJ01C-08-OPTAAC104 | streamed | optaa_sample | 19 | beam_attenuation | m-1
CE04OSBP-LJ01C-08-OPTAAC104 | streamed | optaa_sample | 20 | optical_absorption | m-1
CE04OSBP-LJ01C-08-OPTAAC104 | streamed | optaa_sample | 8080 | wavelength_a | nm
CE04OSBP-LJ01C-08-OPTAAC104 | streamed | optaa_sample | 8081 | wavelength_c | nm
CE04OSBP-LJ01C-08-OPTAAC104 | streamed | optaa_sample | 8082 | wavelength | 1
CE04OSBP-LJ01C-09-PCO2WB104 | streamed | pco2w_b_sami_data_record | 930 | pco2w_thermistor_temperature | deg_C
CE04OSBP-LJ01C-09-PCO2WB104 | streamed | pco2w_b_sami_data_record | 931 | pco2_seawater | uatm
CE04OSBP-LJ01C-10-PHSEND107 | streamed | phsen_data_record | 938 | phsen_thermistor_temperature | V
CE04OSBP-LJ01C-10-PHSEND107 | streamed | phsen_data_record | 939 | ph_seawater | 1
CE04OSPS-PC01B-4A-CTDPFA109 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
CE04OSPS-PC01B-4A-CTDPFA109 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
CE04OSPS-PC01B-4A-CTDPFA109 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
CE04OSPS-PC01B-4A-CTDPFA109 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
CE04OSPS-PC01B-4A-CTDPFA109 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
CE04OSPS-PC01B-4A-CTDPFA109 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
CE04OSPS-PC01B-4A-CTDPFA109 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
CE04OSPS-PC01B-4A-DOSTAD109 | streamed | ctdpf_optode_sample | 5 | density | kg m-3
CE04OSPS-PC01B-4A-DOSTAD109 | streamed | ctdpf_optode_sample | 13 | practical_salinity | 1
CE04OSPS-PC01B-4A-DOSTAD109 | streamed | ctdpf_optode_sample | 14 | dissolved_oxygen | Œµmol kg-1
CE04OSPS-PC01B-4A-DOSTAD109 | streamed | ctdpf_optode_sample | 908 | seawater_temperature | deg_C
CE04OSPS-PC01B-4A-DOSTAD109 | streamed | ctdpf_optode_sample | 909 | seawater_pressure | dbar
CE04OSPS-PC01B-4A-DOSTAD109 | streamed | ctdpf_optode_sample | 910 | seawater_conductivity | S m-1
CE04OSPS-PC01B-4A-DOSTAD109 | streamed | ctdpf_optode_sample | 964 | ctd_tc_oxygen | umol L-1
CE04OSPS-PC01B-4B-PHSENA106 | streamed | phsen_data_record | 938 | phsen_thermistor_temperature | V
CE04OSPS-PC01B-4B-PHSENA106 | streamed | phsen_data_record | 939 | ph_seawater | 1
CE04OSPS-PC01B-4D-PCO2WA105 | streamed | pco2w_a_sami_data_record | 930 | pco2w_thermistor_temperature | deg_C
CE04OSPS-PC01B-4D-PCO2WA105 | streamed | pco2w_a_sami_data_record | 931 | pco2_seawater | uatm
CE04OSPS-SF01B-2A-CTDPFA107 | streamed | ctdpf_sbe43_sample | 5 | density | kg m-3
CE04OSPS-SF01B-2A-CTDPFA107 | streamed | ctdpf_sbe43_sample | 13 | practical_salinity | 1
CE04OSPS-SF01B-2A-CTDPFA107 | streamed | ctdpf_sbe43_sample | 908 | seawater_temperature | deg_C
CE04OSPS-SF01B-2A-CTDPFA107 | streamed | ctdpf_sbe43_sample | 909 | seawater_pressure | dbar
CE04OSPS-SF01B-2A-CTDPFA107 | streamed | ctdpf_sbe43_sample | 910 | seawater_conductivity | S m-1
CE04OSPS-SF01B-2A-CTDPFA107 | streamed | ctdpf_sbe43_sample | 3777 | corrected_dissolved_oxygen | Œµmol kg-1
CE04OSPS-SF01B-2A-DOFSTA107 | streamed | ctdpf_sbe43_sample | 5 | density | kg m-3
CE04OSPS-SF01B-2A-DOFSTA107 | streamed | ctdpf_sbe43_sample | 13 | practical_salinity | 1
CE04OSPS-SF01B-2A-DOFSTA107 | streamed | ctdpf_sbe43_sample | 908 | seawater_temperature | deg_C
CE04OSPS-SF01B-2A-DOFSTA107 | streamed | ctdpf_sbe43_sample | 909 | seawater_pressure | dbar
CE04OSPS-SF01B-2A-DOFSTA107 | streamed | ctdpf_sbe43_sample | 910 | seawater_conductivity | S m-1
CE04OSPS-SF01B-2A-DOFSTA107 | streamed | ctdpf_sbe43_sample | 3777 | corrected_dissolved_oxygen | Œµmol kg-1
CE04OSPS-SF01B-2B-PHSENA108 | streamed | phsen_data_record | 938 | phsen_thermistor_temperature | V
CE04OSPS-SF01B-2B-PHSENA108 | streamed | phsen_data_record | 939 | ph_seawater | 1
CE04OSPS-SF01B-3A-FLORTD104 | streamed | flort_d_data_record | 21 | seawater_scattering_coefficient | m-1
CE04OSPS-SF01B-3A-FLORTD104 | streamed | flort_d_data_record | 22 | fluorometric_chlorophyll_a | Œµg L-1
CE04OSPS-SF01B-3A-FLORTD104 | streamed | flort_d_data_record | 23 | fluorometric_cdom | ppb
CE04OSPS-SF01B-3A-FLORTD104 | streamed | flort_d_data_record | 25 | optical_backscatter | m-1
CE04OSPS-SF01B-3B-OPTAAD105 | streamed | optaa_sample | 19 | beam_attenuation | m-1
CE04OSPS-SF01B-3B-OPTAAD105 | streamed | optaa_sample | 20 | optical_absorption | m-1
CE04OSPS-SF01B-3B-OPTAAD105 | streamed | optaa_sample | 8080 | wavelength_a | nm
CE04OSPS-SF01B-3B-OPTAAD105 | streamed | optaa_sample | 8081 | wavelength_c | nm
CE04OSPS-SF01B-3B-OPTAAD105 | streamed | optaa_sample | 8082 | wavelength | 1
CE04OSPS-SF01B-3C-PARADA102 | streamed | parad_sa_sample | 192 | par_counts_output | umol photons m-2 s-1
CE04OSPS-SF01B-3D-SPKIRA102 | streamed | spkir_data_record | 2645 | spkir_downwelling_vector | uW cm-2 nm-1
CE04OSPS-SF01B-4A-NUTNRA102 | streamed | nutnr_a_dark_sample | 315 | nitrate_concentration | uMol L-1
CE04OSPS-SF01B-4A-NUTNRA102 | streamed | nutnr_a_sample | 18 | salinity_corrected_nitrate | Œµmol L-1
CE04OSPS-SF01B-4A-NUTNRA102 | streamed | nutnr_a_sample | 315 | nitrate_concentration | uMol L-1
CE04OSPS-SF01B-4B-VELPTD106 | streamed | velpt_velocity_data | 3230 | velpt_d_eastward_velocity | m s-1
CE04OSPS-SF01B-4B-VELPTD106 | streamed | velpt_velocity_data | 3231 | velpt_d_northward_velocity | m s-1
CE04OSPS-SF01B-4B-VELPTD106 | streamed | velpt_velocity_data | 3232 | velpt_d_upward_velocity | m s-1
CE04OSPS-SF01B-4B-VELPTD106 | streamed | velpt_velocity_data | 3248 | pressure_mbar | 0.001 dbar
CE04OSPS-SF01B-4F-PCO2WA102 | streamed | pco2w_a_sami_data_record | 930 | pco2w_thermistor_temperature | deg_C
CE04OSPS-SF01B-4F-PCO2WA102 | streamed | pco2w_a_sami_data_record | 931 | pco2_seawater | uatm

## glossary
Term | Remarks |  |  | Addendum
recovered_inst | Rob has no idea what this means
recovered_wfp | Rob has no idea what this means
streamed | Probably means it is coming hot back over the wire with some update rate like once every 5 seconds
RS01SUM1-LJ01B-09-PRESTB102 | Let's break down one of the reference_designator entries
| RS | RS = Cabled Array as such; CE = Coastal Endurance portion of the cabled array
| 01 | Region qualifier: RS can have 01 or 03; CE can have 02 or 04 so they seem to be mutually exclusive
| SUM1 | Installation designator: SUM1 is Southern Hydrate Summit 1 Seafloor; see the full list below
LJ
01B
09
| PREST | Pressure/Temperature (?) designator of instrument type
| B102 | Designation 'which one' as in A or B or C and 101 or 102 or 201 or 301 or whatever
Installation designators; spaces added for clarity
Continental margin installations
RS01 SUM1 | Southern Hydrate Summit 1 Seafloor
RS01 SUM2 | Southern Hydrate Summit 2 Seafloor
RS01 SBPD | Oregon Slope Base Deep Profiler Mooring i.e. the deep profiler that stays well below the surface at the top of its run
RS01 SBPS | Oregon Slope Base Shallow Profiler Mooring i.e. the shallow profiler that gets very close to the surface
RS01 SLBS | Oregon Slope Base Seafloor i.e. a benthic installation, no profiler
Axial Seamount installations
RS03 ASHS | ASHES Vent Field
RS03 AXPD | Axial Base Deep Profiler Mooring
RS03 AXBS | Axial Base Seafloor
RS03 AXPS | Axial Base Shallow Profiler Mooring
RS03 CCAL | Central Caldera
RS03 ECAL | Eastern Caldera
RS03 INT1 | Int'l District Vent Field 1
RS03 INT2 | Int'l District Vent Field 2
A few examples: Deconvolving designator and stream_name to instruments and observations
Notice this is not 1:1:1 for ADCPTD/VADCPA
designator string | stream_name | is actually | further comments
CTDPFL | dpc_ctd_instrument_recovered | CTD
VEL3D | dpc_acm_instrument_recovered | ADCP?? | three-dimensional velocity vector field in the water column
FLCDRA | dpc_flcdrtd_instrument_recovered | fluorometer
FLNTUA | dpc_flnturtd_instrument_recovered | fluorometer | same as the one above? Different instrument?
OPTACC | dpc_acs_instrument_recovered | color absorption | this is my guess, equating to 'ABS' spectral absorbance from my CDOM project
DOSTAD | dpc_optode_instrument_recovered | dO2
ADCPTD | adcp_velocity_beam | ADCP is a safe bet
VADCPA | adcp also / same? | My guess: This is a vertically-oriented ADCP additional to the previous one